Appendix L: Sample Manual Tank Gauging Record	Month _______________  Year _________

Tank Identification: _____________________________

Person Completing Form:______________________________

Circle your tank size, test duration, and weekly/monthly standards in the table below: 	Facility Name:_______________________________________

| Tank Size | Minimum Duration Of Test | Weekly Standard (1 test) | Monthly Standard (4-test average) | Compare your weekly readings and the monthly average of the 4 weekly readings with the standards shown in the table on the left. If the calculated change exceeds the weekly standard, the UST may be leaking. Also, the monthly average of the 4 weekly test results must be compared to the monthly standard in the same way. If either the weekly or monthly standards have been exceeded, the UST may be leaking. As soon as possible, call your implementing agency to report the suspected leak and get further instructions. |
| --- | --- | --- | --- | --- |
| up to 550 gallons | 36 hours | 10 gallons | 5 gallons |  |
| 551-1,000 gallons (when tank diameter is 64") | 44 hours | 9 gallons | 4 gallons |  |
| 551-1,000 gallons (when tank diameter is 48") | 58 hours | 12 gallons | 6 gallons |  |
| 551-1,000 gallons (also requires periodic tank tightness testing) | 36 hours | 13 gallons | 7 gallons |  |
| 1,001-2,000 gallons (also requires periodic tank tightness testing) | 36 hours | 26 gallons | 13 gallons |  |

| Start Test (month, day, and time) | First Initial Stick Reading | Second Initial Stick Reading | Average Initial Reading | Initial Gallons (convert inches to gallons) [a] | End Test (month, day, and time) | First End Stick Reading | Second End Stick Reading | Average End Reading | End Gallons (convert inches to gallons) [b] | Change In Tank Volume In Gallons + or (—) [a—b] | Tank Passes Test (circle Yes or No) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: Time: AM/PM |  |  |  |  | Date: Time: AM/PM |  |  |  |  |  | Y N |
| Date: Time: AM/PM |  |  |  |  | Date: Time: AM/PM |  |  |  |  |  | Y N |
| Date: Time: AM/PM |  |  |  |  | Date: Time: AM/PM |  |  |  |  |  | Y N |
| Date: Time: AM/PM |  |  |  |  | Date: Time: AM/PM |  |  |  |  |  | Y N |
| Keep This Piece Of Paper On File For At Least One Year | To see how close you are to the monthly standard, divide the sum of the 4 weekly readings by 4 and enter result here > |  | Y N |